## Estimate
ESTIMATE
Estimate Date: 8/27/2026
National Grid Application #: | Project Site Street Address: |  | Company Name: |  | Name:
National Grid WR #: | Project City, State, ZIP Code: |  | Telephone Number: |  | Telephone Number:
Program Segment (Public, Workplace, etc.): Multi-Unit Dwelling (MUD) | Number of Ports: 10 |  | Email: |  | Email:
Number of Stations: 10
Desciption | Detail/Notes | Unit Type | How Many ft/ea/ports | Material Total $ | Labor Total $ | Total Cost $
Eligible Design and Permitting costs
Design/Engineering/Permitting | Design Costs |  | 10 | 0 | 10000 | 10000
Eligible Customer-Side Infrastructure Make-Ready costs - Site and Electrical Work
Trenching & Backfill - Continuously Paved Area (i.e., asphalt, concrete) |  |  | 712 | 0 | 0 | 0
Trenching & Backfill - Non-Continuously Paved Area (i.e., grass) |  |  | 0 | 0 | 0 | 0
Conduit & Cable - Underground/Above Ground/Indoor |  |  | 0 | 0 | 0 | 0
Protective Bollards | Protective bollards |  | 10 | 2500 | 3000 | 5500
Handholes/Manholes |  |  | 0 | 0 | 0 | 0
Concrete Work/Bases/Pads |  |  | 0 | 0 | 0 | 0
Panels/Service Board/Breakers | Utility service point, Utility service meter |  | 2 | 1400 | 570 | 1970
Other | Grounding + fire-stop + EV make-ready, Service transformer |  | 10 | 1200 | 9547.5 | 10747.5
Civil Work - Eligible Utility-Side Infrastructure costs - Site and Electrical Work - Only applicable if contractor is installing utility-owned primary-side equipment
Trenching & Backfill for Primary Conduit (cost includes concrete encased conduit) |  |  | 0 | 0 | 0 | 0
Utility Transformer Pad |  |  | 0 | 0 | 0 | 0
Protective Bollards |  |  | 0 | 0 | 0 | 0
Riser |  |  | 0 | 0 | 0 | 0
Other |  |  | 0 | 0 | 0 | 0
Eligible EVSE Costs
EVSE Hardware #1 | Autel AC Pro |  | 10 | 11190 | 15200 | 26390
EVSE Hardware #2 |  |  | 0 | 0 | 0 | 0
EVSE Freight/Shipping | EVSE freight/shipping |  | 10 | 0 | 1250 | 1250
Other (i.e., cable management, power management kits, mounting kits) |  |  | 0 | 0 | 0 | 0
Eligible Networking Costs
EVSE Networking (Public L2s and MUDs only) | EVSE networking |  | 10 | 4800 | 0 | 4800
Ineligible Infrastructure Make-Ready costs - Infrastructure Site Work
Parking Spot Striping/Painting/ EV Signage | Signage & striping |  | 11 | 400 | 190 | 590
Ineligible Infrastructure Make-Ready costs - Infrastructure Site Work - Future Proofing
Trenching & Backfill (asphalt, concrete, grass) - Future Proofing (cost includes conduit and cable) |  |  | 0 | 0 | 0 | 0
Protective Bollards - Future Proofing |  |  | 0 | 0 | 0 | 0
Concrete Work/Bases/Pads - Future Proofing |  |  | 0 | 0 | 0 | 0
Panels/Service Board/Breakers - Future Proofing |  |  | 0 | 0 | 0 | 0
Other - Future Proofing |  |  | 0 | 0 | 0 | 0
Ineligible EVSE Costs
Maintenance/Warranty Plan |  |  | 0 | 0 | 0 | 0
Activation Fee | Activation fee |  | 10 | 3950 | 0 | 3950
Validation |  |  | 0 | 0 | 0 | 0
EVSE Networking (Workplace, Fleet, DCFC) |  |  | 0 | 0 | 0 | 0
Other |  |  | 0 | 0 | 0 | 0
| Eligible Customer-Side Make-Ready Total |  |  |  |  | 28217.5
| Eligible EVSE Total |  |  |  |  | 27640
| Eligible Networking Total |  |  |  |  | 4800
| Total for Eligible Costs |  |  |  |  | 60657.5
| Total for Ineligible Costs |  |  |  |  | 4540
| Sales Tax (need to enter tax in this field) |  |  |  |  | 699.38
| Total for Eligible and Ineligible Costs |  |  |  |  | 65896.88
Estimate | Total Utility Side Infrastructure Costs (Civil Work) |  |  |  |  | 0