## Estimate
ESTIMATE
Estimate Date: 8/25/2026
National Grid Application #: | Project Site Street Address: 35 Oxford Avenue |  | Company Name: Lionheart Energy LLC |  | Name: 35 Oxford Ave
National Grid WR #: | Project City, State, ZIP Code: Dudley, MA |  | Telephone Number: |  | Telephone Number:
Program Segment (Public, Workplace, etc.): Multi-Unit Dwelling (MUD) | Number of Ports: 4 |  | Email: |  | Email:
Number of Stations: 4
Desciption | Detail/Notes | Unit Type | How Many ft/ea/ports | Material Total $ | Labor Total $ | Total Cost $
Eligible Design and Permitting costs
Design/Engineering/Permitting |  |  | 0 | 0 | 0 | 0
Eligible Customer-Side Infrastructure Make-Ready costs - Site and Electrical Work
Trenching & Backfill - Continuously Paved Area (i.e., asphalt, concrete) | Trenching + backfill, continuously paved |  | 0 | 1050 | 5040 | 6090
Trenching & Backfill - Non-Continuously Paved Area (i.e., grass) |  |  | 0 | 0 | 0 | 0
Conduit & Cable - Underground/Above Ground/Indoor | Conduit & cable — underground |  | 0 | 2827.35 | 2896.25 | 5723.6
Protective Bollards | Protective bollards |  | 2 | 500 | 600 | 1100
Handholes/Manholes |  |  | 0 | 0 | 0 | 0
Concrete Work/Bases/Pads | Concrete work: EVSE equipment bases |  | 3 | 2000 | 2900 | 4900
Panels/Service Board/Breakers | New-service distribution + metering |  | 8 | 2976 | 6000 | 8976
Other | EVSE installation & pedestal mounting |  | 4 | 1000 | 8500 | 9500
Civil Work - Eligible Utility-Side Infrastructure costs - Site and Electrical Work - Only applicable if contractor is installing utility-owned primary-side equipment
Trenching & Backfill for Primary Conduit (cost includes concrete encased conduit) |  |  | 0 | 0 | 0 | 0
Utility Transformer Pad |  |  | 0 | 0 | 0 | 0
Protective Bollards |  |  | 0 | 0 | 0 | 0
Riser |  |  | 0 | 0 | 0 | 0
Other |  |  | 0 | 0 | 0 | 0
Eligible EVSE Costs
EVSE Hardware #1 | Autel MaxiCharger AC Elite |  | 4 | 8800 | 0 | 8800
EVSE Hardware #2 | Autel pedestals / wall-mount brackets |  | 2 | 2500 | 0 | 2500
EVSE Freight/Shipping | EVSE freight/shipping |  | 4 | 0 | 350 | 350
Other (i.e., cable management, power management kits, mounting kits) |  |  | 0 | 0 | 0 | 0
Eligible Networking Costs
EVSE Networking (Public L2s and MUDs only) | EVSE networking — Green Joulez |  | 4 | 1920 | 0 | 1920
Ineligible Infrastructure Make-Ready costs - Infrastructure Site Work
Parking Spot Striping/Painting/ EV Signage |  |  | 0 | 0 | 0 | 0
Ineligible Infrastructure Make-Ready costs - Infrastructure Site Work - Future Proofing
Trenching & Backfill (asphalt, concrete, grass) - Future Proofing (cost includes conduit and cable) |  |  | 0 | 0 | 0 | 0
Protective Bollards - Future Proofing |  |  | 0 | 0 | 0 | 0
Concrete Work/Bases/Pads - Future Proofing |  |  | 0 | 0 | 0 | 0
Panels/Service Board/Breakers - Future Proofing |  |  | 0 | 0 | 0 | 0
Other - Future Proofing |  |  | 0 | 0 | 0 | 0
Ineligible EVSE Costs
Maintenance/Warranty Plan |  |  | 0 | 0 | 0 | 0
Activation Fee |  |  | 0 | 0 | 0 | 0
Validation |  |  | 0 | 0 | 0 | 0
EVSE Networking (Workplace, Fleet, DCFC) |  |  | 0 | 0 | 0 | 0
Other |  |  | 0 | 0 | 0 | 0
| Eligible Customer-Side Make-Ready Total |  |  |  |  | 36289.6
| Eligible EVSE Total |  |  |  |  | 11650
| Eligible Networking Total |  |  |  |  | 1920
| Total for Eligible Costs |  |  |  |  | 49859.6
| Total for Ineligible Costs |  |  |  |  | 0
| Sales Tax (need to enter tax in this field) |  |  |  |  | 0
| Total for Eligible and Ineligible Costs |  |  |  |  | 49859.6
Estimate | Total Utility Side Infrastructure Costs (Civil Work) |  |  |  |  | 0